**Physical Properties**

**Specification**

Conforms to req1uirements of BS EN 15102

and Federal Specification

CCC-W-408A & C and CFFA Quality Standard

for Vinyl Coated Fabric Wallcoverings

CFFA-W-101A

**Stain/Chemical Resistance:**

Pass ASTM D-1308-1987 Federal Spot Test.

Resistant to temporary staining of oils,

fats, mild acids and alkalis.

**Quality Assurance:**

Our management system and production

Procedures comply with ISO 9001, the

internationally recognized Quality

Standard.

**Availability:**

Every product stocked in depth.

Please allow 5/7 days for delivery.

**Warranty:**

Newmor offers a five year warranty

against manufacturing defects.

Full details available on application.

**Samples:**

Larger samples are readily available on

request.

**Maintenance:**

Fully washable and in most cases products

can be scrubbed repeatedly to remove any

marks without damaging the product itself.

Most products are also able to withstand

the use of chlorine releasing agent solutions.

Total Weight: 460g/m2 (nominal)

Vinyl Weight: 400g/m2 (nominal)

Substrate Type: Non-Woven

Fabric Backer

Substrate weight: 60g/m2 (nominal)

Tensile Strength: MD 40 N/cm (nominal)

TD 30 N/cm (nominal)

Tear Strength: 4500 mN (nominal)

**Roll Size**

1.37m x 27.4m – cut lengths available

**Fire Rating:**

Class ‘O’ to the requirements of Approved

Document B of the British Building

Regulations (Class 1, BS 476 Part 7).

Euroclass B - s2, d0. Class A ASTM E-84

Tunnel Test.

**Adhesive**

Fabric backed vinyls – Newmor Heavy.

Varies with substrate – please enquire.

**Bacteria Resistance:**

Manufactured to include antimicrobial

protection as standard to help in the

control of fungi, actinomycetes

and bacteria.

**Light Fast:**

Excellent Light Fastness

BS EN ISO 20105 min 7

LRV = Light reflective value